## USER GUIDE
Pearson Edexcel IG Sciences Lab Apparatus List
This spreadsheet has been made to make it easier for lab technicians or Heads of Science to ensure that they have all the apparatus required for
conducting the core practicals for Pearson Edexcel IG Biology, Chemistry and Physics (Separate award) and to assist with budgeting.
The apparatus list has been compiled from what is listed in the individual practicals from our Lab Books and the numbering of practicals refers to the number used in these rather than the specification.
Students entered for the Double award, will not need to do the practicals that are in BOLD but will need to do the practicals that are in ITALICS i.e. those that are only done by Single award students as well as those that aren't bold.
Students entered for the Single Award will only need to do the practicals that are in ITALICS.
Concentrations for reagents are listed in column D. You can refer to CLEAPPs for recipes or buy them ready made.
Quantities have been listed per pair in column E, unless advised in the notes section
You will need to enter the number of sets needed in column F using knowledge of your class and cohort size.
The total number of each apparatus required in Column G will be automatically calculated for you, although you can override the formula if needed.
The price per apparatus will need to be entered yourself in column H once you have found suitable suppliers
The total cost in column I will be automatically calculated for you, although you can override the formula if needed.
Note: Some apparatus can be used for all practicals within each subject as well as across the Sciences e.g. safety glasses, beakers, measuring cyclinders, bosses, clamps, stands,
heat proof mats test-tubes but of course if you are running practicals across all 3 siences simultaneously you will want to have separate sets for each science.
DO NOT ALTER THE "Do Not Alter" tab

## Biology
Type of Equipment | Lab Book Practical no. | Chemical/Sample/Apparatus Needed | Molarity/Concentration | Quantity needed for 1 pair | No of sets needed (You'll need to enter this yourself) | Total needed | Price per unit (you'll need to find this out for youself by asking local suppliers) | Total cost | Notes
Health and Safety | 1 | Eye protection |  | 2 |  | 0 |  | 0
Glassware | 1 | Test tubes |  | 12 |  | 0 |  | 0 | If you don't have enough the minumum would be 4 to test each food type and then ask students to washed out before testing the next food type
General lab apparatus | 1 | Test tube rack |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | Test tube rubber bungs |  | 4 |  | 0 |  | 0
Reagents | 1 | qualitative Benedict's reagent bottle with pipette |  | 1 |  | 0 |  | 0 | (Use Distilled or Deionised Water) 1. Dissolve 170g tri-sodium citrate and 100g anhydrous sodium carbonate (or 250g sodium carbonate decahydrate) in 850ml water. 2. Add 17.4g copper (II) sulphate-5-water and dilute to 1000ml with water. Filter if necessary. Yields 1 L which you can decant into bottles with teat pippettes or 50 ml beakers and provide 1ml plastic pipettes. Or you can purchase this ready made.
Plasticware | 1 | 5 mL syringe |  | 4 |  | 0 |  | 0
General lab apparatus | 1 | Water bath set to 80 deg C |  | 1 |  | 0 |  | 0 | 8 pairs can use 1
General lab apparatus | 1 | Marker pen |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | Spatulas |  | 3 |  | 0 |  | 0
Reagents | 1 | qualitative Biuret reagent bottle with pipette |  | 1 |  | 0 |  | 0 | You can buy this ready made or else use the recipe below: 1. Dissolve 1.5g copper(II) sulphate-5-water and 6g potassium sodium tartrate in 500ml water. 2. Stir in 375ml of 1M sodium hydroxide solution (CORROSIVE), stirring continuously. 3. If a precipitate appears, add 1g potassium iodide, then dilute to 1000ml with water. Bottle and label as necessary. The solution is a deep blue colour.
Reagents | 1 | Iodine in potassium iodide solution dropping bottle |  | 1 |  | 0 |  | 0 | You can buy this ready made or use the recipe below: 1 . 100ml: To 8g Potassium Iodide add 2.54g Iodine , using small volumes of water dissolve the iodine. Then dilute to 100ml volume. Bottle and label as necessary. 1. 250ml: To 20g Potassium Iodide add 6.35g Iodine , using small volumes of water dissolve the iodine. Then dilute to 100ml volume. Bottle and label as necessary. 1. 1000ml: To 80g Potassium Iodide add 25.38g Iodine , using small volumes of water dissolve the iodine. Then dilute to 100ml volume. Bottle and label as necessary. Use in a well-ventilated area. Store in a glass-stoppered bottle. Stirring Iodine solutions will take time.
Plasticware | 1 | Dimple tile |  | 1 |  | 0 |  | 0
Plasticware | 1 | Pipette |  | 1 |  | 0 |  | 0
Reagents | 1 | Distilled water in 250ml squeezy bottle |  | 1 |  | 0 |  | 0
Reagents | 1 | Ethanol 1 bottle with pipette |  | 1 |  | 0 |  | 0
Health and Safety | 1 | Paper towels roll |  | 1 |  | 0 |  | 0
Biological samples | 1 | Range of foods to test for reducing sugars, protein and lipids |  | 1 |  | 0 |  |  | 3 different types per pair would be good
Health and Safety | 2 | Eye protection |  | 2 |  | 0 |  | 0
Reagents | 2 | Iodine in potassium iodide in dropping bottle |  | 1 |  | 0 |  | 0
Plasticware | 2 | Dimple tile |  | 1 |  | 0 |  | 0
Plasticware | 2 | 5mL syringes |  | 2 |  | 0 |  | 0
Reagents | 2 | Solution of soluble starch - 20ml | 0.5% | 1 |  | 0 |  | 0
Glassware | 2 | Test tubes |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | Marker pen |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | Test tube rack |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | Water baths x 4 |  | 1 |  | 0 |  | 0 | Themostatically controlled water baths would be best for 50,60,70,80 deg c (Note you may find that it would be better to reduce the range to 20,30,40,50,60 as the rate of reaction will be too slow or stopped below 20 and above 60)
Glassware | 2 | 150 ml beaker |  | 1 |  |  |  |  | 0,10,20,30, 40 deg c can be done with a beaker, ice and hot water from a kettle
Reagents | 2 | Crushed ice |  |  |  | 0 |  | 0
General lab apparatus | 2 | Thermometer |  | 1 |  | 0 |  | 0 | 1 thermometer is needed in each thermostatically controlled water baths i.e. 4 in total and 1 thermometer is needed for each pair doing the manual water baths
Measuring devices | 2 | Timer |  | 1 |  | 0 |  | 0
Reagents | 2 | 0.05% Amylase solution - 10ml | 0.05%v/v | 1 |  | 0 |  | 0
Plasticware | 2 | Pipette |  | 1 |  | 0 |  | 0
Indicators | 2 | Benedict's reagent bottle with pipette |  | 1 |  | 0 |  | 0 | see recipe in CP 1- this step (11) is optional
Health and Safety | 3 | Eye protection |  | 2 |  | 0 |  | 0
Glassware | 3 | Test tubes |  | 8 |  | 0 |  | 0
General lab apparatus | 3 | Waterproof marker pen |  | 1 |  | 0 |  | 0
General lab apparatus | 3 | Test tube rack |  | 1 |  | 0 |  | 0
Plasticware | 3 | 10 mL syringe |  | 1 |  | 0 |  | 0 | There's an errror in the lab book. 1 x 10ml syringe is needed for the egg white suspension and 1 x 10ml syringe is needed for the pepsin solution but it may be better to use a 5 ml syringe to measure out the 3ml of pepsin instead.
Biological samples | 3 | 40 mL egg white suspension |  | 1 |  | 0 |  | 0 | Prepare an albumin suspension by separating egg whites (albumin) from yolks and adding 20 mL of distilled water to the albumin.
Plasticware | 3 | 5 mL syringe |  | 2 |  | 0 |  | 0 | Use the 2nd 5 ml syringe to measure out the pepsin instead of a 10ml syringe
Acids and Alkalis | 3 | Buffer solutions of pH 1, 2, 3, 4, 5, 6, 7, 8 |  | 1 |  | 0 |  | 0 | It would be best to get 2 or 3 pairs (depending on class size) to do 1 pH each and then you can collate the whole class results and calculate a mean. Note that the spec uses to starch/amylase reaction instead to show the effect of pH.
General lab apparatus | 3 | Water bath set to 40oC |  |  |  | 0 |  | 0 | 4 in a class of 25-30
Reagents | 3 | 30mL pepsin solution | 2% | 1 |  | 0 |  | 0 | Dissolve 0.2 g of powdered pepsin for every 9.8 mL of distilled water.
Glassware | 3 | 50 ml beaker to place pepsin solution |  | 1 |  | 0 |  | 0
Glassware | 3 | Stirring rod |  | 1 |  | 0 |  | 0
Measuring devices | 3 | Timer |  | 1 |  | 0 |  | 0
Health and Safety | 4.1 | Eye protection |  | 2 |  | 0
Glassware | 4.1 | crystalization dishes or a 150 ml beaker |  | 1 |  | 0 |  | 0
Plasticware | 4.1 | 100mL measuring cylinder |  | 1 |  | 0 |  | 0
Reagents | 4.1 | Potassium manganate VII solution x 100 ml | 0.1-0.5M | 1 |  | 0 |  | 0 | For 0.1 M, dissolve 15.803g in a small volume of dH20 until completely dissolved and then top up to 1L. Store in an amber glass bottle.
General lab apparatus | 4.1 | Blunt forceps |  | 1 |  | 0 |  | 0
Reagents | 4.1 | 3x agar jelly cubes 4cm x 4cm x 4cm | 1-2g per 100ml water | 3 |  | 0 |  | 0
Measuring devices | 4.1 | Timer |  | 1 |  | 0 |  | 0
Measuring devices | 4.1 | Ruler |  | 1 |  | 0 |  | 0
General lab apparatus | 4.1 | Scalpel or sharp knife |  | 1 |  | 0 |  | 0
Health and Safety | 4.2 | Eye protection |  | 2 |  | 0 |  | 0
Glassware | 4.2 | 500mL beaker |  | 1 |  | 0 |  | 0
General lab apparatus | 4.2 | Water |  |  |  | 0 |  | 0
Miscelaneous equipment | 4.2 | Visking tubing approx 10cm long |  | 1 |  | 0 |  | 0
General lab apparatus | 4.2 | Cotton thread |  |  |  | 0 |  | 0
Plasticware | 4.2 | Pipette |  | 1 |  | 0 |  | 0
Reagents | 4.2 | Solution of glucose and soluble starch | 1% starch, 10-15% glucose |  |  | 0 |  | 0
Plasticware | 4.2 | 5mL syringes |  | 2 |  | 0 |  | 0
Plasticware | 4.2 | Dimple tile |  | 1 |  | 0 |  | 0
Glassware | 4.2 | Test tubes |  | 6 |  | 0 |  | 0
General lab apparatus | 4.2 | Test tube rack |  | 1 |  | 0 |  | 0
Reagents | 4.2 | Iodine in potassium iodide in dropping bottle |  | 1 |  | 0 |  | 0 | see recipe in CP1
Reagents | 4.2 | Benedict's reagent in a dropping bottle |  | 1 |  | 0 |  | 0 | see recipe in CP1
General lab apparatus | 4.2 | Water bath set to 80oC |  |  |  | 0 |  | 0 | 1 for every 4-5 pairs would be ideal
Measuring devices | 4.2 | Timer |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 4.3 | Visking tubing approx 10cm long |  | 3 |  | 0 |  | 0 | This could be a demo as thistle funnels are expensive
Miscelaneous equipment | 4.3 | Cotton thread |  | 3 |  | 0 |  | 0
Glassware | 4.3 | Thistle funnels |  | 3 |  | 0 |  | 0
Plasticware | 4.3 | Pipette |  | 1 |  | 0 |  | 0
Reagents | 4.3 | Sucrose solutions x2 | 3% and 15% |  |  | 0 |  | 0
General lab apparatus | 4.3 | Waterproof marker pen |  | 1 |  | 0 |  | 0
General lab apparatus | 4.3 | Clamps and stands |  | 3 |  | 0 |  | 0
Glassware | 4.3 | Beakers (e.g. 250ml) |  | 3 |  | 0 |  | 0
Measuring devices | 4.3 | Timer |  | 1 |  | 0 |  | 0
Glassware | 4.4 | Boiling tubes |  | 6 |  | 0 |  | 0
General lab apparatus | 4.4 | Boiling tube rack |  | 1 |  | 0 |  | 0
Plasticware | 4.4 | 10 mL syringe |  | 1 |  | 0 |  | 0
Reagents | 4.4 | Distilled water |  |  |  | 0 |  | 0
Reagents | 4.4 | Sucrose solutions x7 | 0% (distilled water), 2.5%, 5%, 7.5%, 10%, 12.5%, 15% |  |  | 0 |  | 0 | You could have 7 pairs, each doing 1 solution concentration with 3 repeats and have mutiples of that depending on class size i.e. if you have 28 in a class, 3 pairs will do 0%, 3 pairs will do 2.5% and so on. In which case each pair will need a minumum of 30ml of each concentration and they will not need to rinse out the syringe
Biological samples | 4.4 | Potato, peeled |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 4.4 | Cork borer |  | 1 |  | 0 |  | 0
General lab apparatus | 4.4 | White tile |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 4.4 | Knife |  | 1 |  | 0 |  | 0
Measuring devices | 4.4 | Ruler |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 4.4 | Forceps |  | 1 |  | 0 |  | 0
General lab apparatus | 4.4 | Paper towels / kitchen roll |  | 1 |  | 0 |  | 0
Measuring devices | 4.4 | Accurate balance (0.01g resolution) |  | 1 |  | 0 |  | 0 | probably 5 for a class of 25-30
Biological samples | 4.5 | Red onion epidermis (3 small pieces per group) |  | 3 |  | 0 |  | 0
Reagents | 4.5 | Distilled water, weak (1-2%) salt solution, 10% salt solution |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 4.5 | Fine forceps |  | 1 |  | 0 |  | 0
Microscopy | 4.5 | Microscope slides and cover slips |  | 3 |  | 0 |  | 0
Plasticware | 4.5 | Pipette |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 4.5 | Mounted needle |  | 1 |  | 0 |  | 0
Microscopy | 4.5 | Microscope and light source |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 5.1 | Lamp |  | 1 |  | 0 |  | 0
General lab apparatus | 5.1 | Clamp, boss and stand |  | 1 |  | 0 |  | 0
General lab apparatus | 5.1 | Metre ruler |  | 1 |  | 0 |  | 0
Plasticware | 5.1 | Syringe |  | 1 |  | 0 |  | 0 | Ensure that the plunger is well lubricated and is pushed up and down a few times to check it can be easily push back with sufficient gas pressure. Otherwise, you could resort to counting bubbles instead.
Miscelaneous equipment | 5.1 | Plastic tubing |  | 1 |  | 0 |  | 0
Glassware | 5.1 | 500mL beaker |  | 1 |  | 0 |  | 0
Biological samples | 5.1 | Piece of water plant such as Elodea (any that will produce bubbles when photosynthesising) |  | 1 |  | 0 |  | 0 | Cabomba tends to work better than Elodea
General lab apparatus | 5.1 | Bunsen burner |  | 1 |  | 0 |  | 0 | You can probably use a match to light the splint instead
General lab apparatus | 5.1 | Splint |  | 1 |  | 0 |  | 0
Measuring devices | 5.1 | Thermometer |  | 1 |  | 0 |  | 0
Health and Safety | 5.1 | Eye protection |  | 2 |  | 0 |  | 0
General lab apparatus | 5.1 | Heat-resistant mat |  | 1 |  | 0 |  | 0 | Only if using the bunsen burner
Health and Safety | 5.2 | Eye protection |  | 2
Biological samples | 5.2 | De-starched geranium plant (or any that will allow a positive test result to be seen following photosynthesis) |  | 1 |  | 0 |  | 0 | At least 24 hours in the dark
Biological samples | 5.2 | Geranium plant that has been exposed to light for 24 hours |  | 1
Miscelaneous equipment | 5.2 | Forceps |  | 1 |  | 0 |  | 0
General lab apparatus | 5.2 | Water bath set to 100oC (8 pairs can use 1) |  |  |  | 0 |  | 0 | This could just be a 150ml beaker topped up with freshly boiled water from a kettle. No bunsens should be in use.
General lab apparatus | 5.2 | Water bath set to 80oC (8 pairs can use 1) | [6 empty] | This could just be a 150ml beaker topped up with boiled water from a kettle
Glassware | 5.2 | Boiling tubes |  | 2 |  | 0 |  | 0
General lab apparatus | 5.2 | Boiling tube racks |  | 1 |  | 0 |  | 0
Reagents | 5.2 | Ethanol- 1 bottle with pippette |  | 1 |  | 0 |  | 0
General lab apparatus | 5.2 | Waterproof marker pen |  | 1 |  | 0 |  | 0
Glassware | 5.2 | Beaker (e.g. 250mL) of cold water |  | 1 |  | 0 |  | 0
General lab apparatus | 5.2 | White tile |  | 1 |  | 0 |  | 0
Reagents | 5.2 | Iodine in potassium iodide in dropping bottle |  | 1 |  | 0 |  | 0
Health and Safety | 5.3 | Eye protection |  | 2
Biological samples | 5.3 | De-starched geranium plant with variegated leaves (or any with variagated leaves that will allow a positive test result to be seen following photosynthesis) |  | 1 |  | 0 |  | 0 | This could just be a 150ml beaker topped up with freshly boiled water from a kettle. No bunsens should be in use.
Biological samples | 5.3 | Geranium plant with variegated leaves that has been exposed to light for 24 hours |  | 1 |  | 0 |  | 0 | This could just be a 150ml beaker topped up with boiled water from a kettle
Miscelaneous equipment | 5.3 | Forceps |  | 1 |  | 0 |  | 0
General lab apparatus | 5.3 | Water bath set to 100oC (8 pairs can use 1) |  |  |  | 0 |  | 0
General lab apparatus | 5.3 | Water bath set to 80oC (8 pairs can use 1) |  |  |  | 0 |  | 0
Glassware | 5.3 | Boiling tubes |  | 2 |  | 0 |  | 0
General lab apparatus | 5.3 | Boiling tube racks |  | 1 |  | 0 |  | 0
Reagents | 5.3 | Ethanol- 1 bottle with teat dropper |  | 1 |  | 0 |  | 0
General lab apparatus | 5.3 | Waterproof marker pen |  | 1 |  | 0 |  | 0
Glassware | 5.3 | Beaker (e.g. 250mL) of cold water |  | 1 |  | 0 |  | 0
General lab apparatus | 5.3 | White tile |  | 1 |  | 0 |  | 0
Reagents | 5.3 | Iodine in potassium iodide in dropping bottle |  | 1 |  | 0 |  | 0
Health and Safety | 5.4 | Eye protection |  | 2
Biological samples | 5.4 | De-starched geranium plant (or any that will allow a positive test result to be seen following photosynthesis) |  | 1 |  | 0 |  | 0 | You may need a boss, clamp and stand to hold the test tube in place
Reagents | 5.4 | Potassium or Sodium hydroxide solution (or solid soda lime) 5ml | 10-20% w/v |  |  | 0 |  | 0
Miscelaneous equipment | 5.4 | Cotton wool boil |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 5.4 | Aluminium foil-1 sheet |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 5.4 | Forceps |  | 1 |  | 0 |  | 0
Reagents | 5.4 | Ethanol- 1 bottle with teat dropper |  | 1 |  | 0 |  | 0
General lab apparatus | 5.4 | Water bath set to 100oC |  | 1 |  | 0 |  | 0
General lab apparatus | 5.4 | Water bath set to 80oC |  | 1 |  | 0 |  | 0
Glassware | 5.4 | Boiling tubes |  | 2 |  | 0 |  | 0
General lab apparatus | 5.4 | Boiling tube rack |  | 1 |  | 0 |  | 0
Glassware | 5.4 | Beaker (e.g. 250mL) of cold water |  | 1 |  | 0 |  | 0
General lab apparatus | 5.4 | White tile |  | 1 |  | 0 |  | 0
Reagents | 5.4 | Iodine solution in dropping bottle |  | 1 |  | 0 |  | 0
Health and Safety | 6 | Eye protection |  | 2 |  | 0 |  | 0
Plasticware | 6 | 50mL measuring cylinder |  | 1 |  | 0 |  | 0
Glassware | 6 | Boiling tubes |  | 1 |  | 0 |  | 0
General lab apparatus | 6 | Clamp, boss and stand |  | 1 |  | 0 |  | 0
Measuring devices | 6 | Thermometer |  | 1 |  | 0 |  | 0
Biological samples | 6 | Selection of foods to test |  |  |  | 0 |  | 0 | Avoid burning nuts
Measuring devices | 6 | Accurate balance (0.01g resolution) |  | 1 |  | 0 |  | 0 | 1 per 5 pairs will be ok
General lab apparatus | 6 | Bunsen burner |  | 1 |  | 0 |  | 0
General lab apparatus | 6 | Heat-resistant mat |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 6 | Mounted needle |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 6 | Mineral wool (if testing cooking oil) |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 6 | Metal forceps |  | 1 |  | 0 |  | 0 | Not needed if using a mounted needle
Miscelaneous equipment | 6 | Paper to insulate forceps handles |  | 1 |  | 0 |  | 0 | Not needed if using a mounted needle
Health and Safety | 7 | Eye protection |  | 2 |  | 0 |  | 0
Glassware | 7 | Boiling tubes |  | 4 |  | 0 |  | 0
Reagents | 7 | Sodium hydroxide solution 40 ml | 0.5M-1M | 1 |  | 0 |  | 0 | 20g in 1L/ 40g in 1 L
Reagents | 7 | Hydrogencarbonate indicator solution 40 ml |  | 1 |  | 0 |  | 0
Glassware | 7 | 50 ml beakers to hold NaOH and HCO3- solution |  | 2 |  | 0 |  | 0
Biological samples | 7 | Soaked pea seeds-20g |  | 1 |  | 0 |  | 0 | The spec uses a leaf instead of peas
Biological samples | 7 | Maggots or woodlice (optional) - 20g |  | 1 |  | 0 |  | 0
Measuring devices | 7 | Balance |  | 1 |  | 0 |  | 0
Glassware | 7 | Bungs and glass tubing |  | 4 |  | 0 |  | 0
Miscelaneous equipment | 7 | Vacuum pump (e.g. connected to water tap) |  | 1 |  | 0 |  | 0
Reagents | 7 | Petroleum jelly |  | 1 |  | 0 |  | 0 | 1 small tub between 2 to 4 pairs
Measuring devices | 7 | Timer |  | 1 |  | 0 |  | 0
Reagents | 7 | Limewater 40 ml |  | 1 |  | 0 |  | 0
Glassware | 8 | Boiling tubes |  | 8 |  | 0 |  | 0
General lab apparatus | 8 | Boiling tube racks |  | 2 |  | 0 |  | 0 | Assuming it only fits 4 tubes
Plasticware | 8 | 50mL measuring cylinder |  | 1 |  | 0 |  | 0 | or a 10ml syringe
Indicators | 8 | Hydrogencarbonate indicator solution 200ml |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 8 | Aluminium foil-1 sheet |  | 1 |  | 0 |  | 0
Biological samples | 8 | Elodea or similar water plant e.g. Cabomba works better |  | 1 |  | 0 |  | 0 | You could also use immobilised algae balls see SAPs protocol in the link below
Miscelaneous equipment | 8 | Tissue paper |  | 1 |  | 0 |  | 0 | a box between 2 pairs
Miscelaneous equipment | 8 | Transparent sticky tape |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 8 | Lamp |  | 1 |  | 0 |  | 0
Measuring devices | 8 | Timer |  | 1 |  | 0 |  | 0
Health and Safety | 8 | Eye protection |  | 2 |  | 0 |  | 0
Measuring devices | 8 | pH meter and probe |  | 1 |  | 0 |  | 0 | You can use a pH indicator chart instead if a probe is not available https://www.saps.org.uk/teaching-resources/resources/235/algal-balls-photosynthesis-using-algae-wrapped-in-jelly-balls/
Health and Safety | 9.1 | Eye protection |  | 2 |  | 0 |  | 0
Glassware | 9.1 | Boiling tubes |  | 2 |  | 0 |  | 0
General lab apparatus | 9.1 | Boiling tube rack |  | 1 |  | 0 |  | 0
General lab apparatus | 9.1 | Marker pen |  | 1 |  | 0 |  | 0
General lab apparatus | 9.1 | bungs |  | 2 |  | 0 |  | 0
General lab apparatus | 9.1 | rubber tubings and mouthpiece |  | 1 |  | 0 |  | 0
Indicators | 9.1 | Limewater 50 ml | 0.02 M | 1 |  | 0 |  | 0
Glassware | 9.1 | 50ml beaker to hold limewater |  | 1 |  | 0 |  | 0
Plasticware | 9.1 | 20mL syringes |  | 1 |  | 0 |  | 0
Measuring devices | 9.1 | Timer |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 9.1 | Nose clip |  | 1 |  | 0 |  | 0
Measuring devices | 9.2 | Timer |  | 1 |  | 0 |  | 0
Reagents | 9.2 (optional) | Soda lime (not needed if using a digital spirometer) |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 9.2 (optional) | Disinfectant wipe |  | 1 |  | 0 |  | 0 | per person
Miscelaneous equipment | 9.2 (optional) | Oxygen tank (medical grade) (not needed if using a digital spirometer) |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 9.2 (optional) | Nose clip |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 9.2 (optional) | Kymograph or motion sensor with data logging software-not needed if using a digital spirometer |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 9.2 (optional) | Exercise bike (optional) |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 9.2 (optional) | Digital Spirometer or the kymograph-no need for both. |  | 1 |  | 0 |  | 0 | You may have disposal mouthpieces https://www.pasco.com/products/sensors/biology-and-physiology/wireless-spirometer
Glassware | 10 | Conical flask |  | 4 |  | 0 |  | 0
Biological samples | 10 | Leafy shoots (cut ends under water) with thin waxy cuticles e.g. privet, spotted laurel or geraniums |  | 4 |  | 0 |  | 0
Miscelaneous equipment | 10 | Scissors / secateurs |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 10 | Vegetable oil-bottle with pippette |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 10 | Cotton wool ball |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 10 | Aluminium foil 1-sheet |  | 1 |  | 0 |  | 0
Measuring devices | 10 | Balance |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 10 | Lamp |  | 1 |  | 0 |  | 0
Miscelaneous equipment | 10 | Hairdryer or alternative wind generator |  | 1 |  | 0 |  | 0 | A portable handheld fan with variable speeds would be ideal
Measuring devices | 10 | Thermometer |  | 1 |  | 0 |  | 0
Health and Safety | 11.1 | Eye protection |  | 2 |  | 0 |  | 0 | You do not have to do all 4 parts of CP11- You could split up the class so that at least 1 pair does each part or just choose to do 1 or 2 of them and demo the rest
Plasticware | 11.1 | Petri dishes |  | 3 |  | 0 |  | 0
Miscelaneous equipment | 11.1 | Filter paper discs (to fit petri dishes, or kitchen paper, or cotton wool) |  | 9 |  | 0 |  | 0
Miscelaneous equipment | 11.1 | Marker pen |  | 1
Reagents | 11.1 | Distilled water in 250ml/500ml squeezy bottle |  | 1
Biological samples | 11.1 | Seeds that will germinate in darkness e.g. white mustard Brassica alba, cress Lepidum sativum, radish Raphanus raphanistrum subsp. sativus |  | 60
Miscelaneous equipment | 11.1 | Scissors |  | 1
Health and Safety | 11.2 | Eye protection |  | 2
Plasticware | 11.2 | Petri dishes with lids |  | 4
Miscelaneous equipment | 11.2 | Filter paper discs (to fit petri dishes, or kitchen paper, or cotton wool) |  | 12
Miscelaneous equipment | 11.2 | Marker pen |  | 1
Reagents | 11.2 | Distilled water 50 ml |  | 1
Glassware | 11.2 | 50 ml beaker to hold distilled water |  | 1
Plasticware | 11.2 | 5mL teat pipettes or syringe |  | 1
Biological samples | 11.2 | Seeds that will germinate in darkness e.g. white mustard Brassica alba, cress Lepidum sativum, radish Raphanus raphanistrum subsp. sativus |  | 80
Measuring devices | 11.2 | Thermometer | [6 empty] | 1 for the fridge and 1 for the cupboard
Miscelaneous equipment | 11.2 | Aluminium foil- sheet |  | 4
Miscelaneous equipment | 11.2 | Fridge | [6 empty] | 1 for the whole class
Miscelaneous equipment | 11.2 | Incubators set to different temperatures e.g. 40oC and 60oC | [6 empty] | The number needed would depend on the size of the incubators. You could use home yoghurt makers as incubators instead.
Miscelaneous equipment | 11.2 | Scissors |  | 1
Health and Safety | 11.3 | Eye protection |  | 2
Miscelaneous equipment | 11.3 | Marker pen |  | 1
Reagents | 11.3 | Distilled water 50 ml |  | 1
Glassware | 11.3 | 50 ml beaker for the water |  | 1
Biological samples | 11.3 | Seeds that will germinate in darkness e.g. white mustard Brassica alba, cress Lepidum sativum, radish Raphanus raphanistrum subsp. sativus |  | 50
Measuring devices | 11.3 | Thermometer |  | 1
Glassware | 11.3 | Conical flasks with rubber bungs |  | 2 | 2
Reagents | 11.3 | Alkaline pyrogallol | 1 mmol pyrogallol in 0.5mmol sodium hydroxide or sodium carbonate | [5 empty] | It would be better to use an alternative to Pyrogallol which is hazardous. Sheet GL159 on CLEAPPS provides full details. The basic idea is to use non-rusted iron filings which are placed onto a cotton gauze that has been dampened and then put it at the bottomn of a boiling tube that is then covered with a rubber bung, this will remove any oxygen after about 3 days due to rusting using up the oxygen. In the control tube, put a damp cotton gauze in without any iron filings. Students will carefully loosen the bung and quickly drop equal number of seeds into each tube, put the bung back on tightly and leave for 2-3 days. Lab book has an error saying that buffer solutions are required when they aren't. You can actually skip this as CP 14 using Yeast and Janus Green indicator is a much better experiment to show how lack of oxygen affects respiration
Miscelaneous equipment | 11.3 | Cotton wool ball |  | 2
Miscelaneous equipment | 11.3 | Cotton thread |  | 2
Miscelaneous equipment | 11.3 | Scissors |  | 1
Health and Safety | 11.4 | Eye protection |  | 2
Miscelaneous equipment | 11.4 | Marker pen |  | 1
Reagents | 11.4 | Distilled water in a 250ml/500ml squeezy bottle |  | 1
Glassware | 11.4 | 10 ml measuring cylinder |  | 6 |  |  |  |  | You could make them use one and rinse out each time with some distilled water instead
Biological samples | 11.4 | Seeds that will germinate in darkness e.g. white mustard Brassica alba, cress Lepidum sativum, radish Raphanus raphanistrum subsp. sativus |  | 140
Measuring devices | 11.4 | Thermometer |  | 1
Plasticware | 11.4 | Petri dish with lid |  | 7
Miscelaneous equipment | 11.4 | filter paper cut to size that fits the petrid dish or cotton wool |  | 21
Miscelaneous equipment | 11.4 | Scissors |  | 1
Reagents | 11.4 | pH buffer solutions 2 ,3,4,5,6 20 ml of each |  | 1
Measuring devices | 12 | measuring wheel or tape at least 10 m long |  | 1 |  |  |  |  | This could be done in 3s
Miscelaneous equipment | 12 | paid of dice |  | 1
Measuring devices | 12 | 0.5 x 0.5 m or 1m x 1 m quadrat |  | 1
General lab apparatus | 12 | Identification charts |  | 1
Measuring devices | 12 | Light meter |  | 1
Measuring devices | 12 | Humidity sensor |  | 1
Measuring devices | 12 | anemometer (wind speed sensor) |  | 1
Measuring devices | 12 | pH meter/probe |  | 1
Miscelaneous equipment | 12 | trowel |  | 1
Miscelaneous equipment | 12 | small paper/plastic bags |  | 2
Miscelaneous equipment | 12 | tape, string or rubber bands to seal bags |  | 1
Health and Safety | 12 | disposable gloves |  | 2
Health and Safety | 12 | hand sanitiser |  | 1
Indicators | 12 | soil nutrient test kit |  | 1
General lab apparatus | 12 | Marker pen |  | 1
Measuring devices | 13 | measuring wheel or tape at least 20 m long |  | 1 |  |  |  |  | This could be done in 3s or 4s
Miscelaneous equipment | 13 | wooden pegs |  | 2
Measuring devices | 13 | 0.5 x 0.5 m or 1m x 1 m quadrat |  | 1
General lab apparatus | 13 | Identification charts |  | 1
Measuring devices | 13 | Light meter |  | 1
Measuring devices | 13 | Humidity sensor |  | 1
Measuring devices | 13 | anemometer (wind speed sensor) |  | 1
Measuring devices | 13 | pH meter/probe |  | 1
Miscelaneous equipment | 13 | trowel |  | 1
Miscelaneous equipment | 13 | small paper/plastic bags |  | 1
Miscelaneous equipment | 13 | tape, string or rubber bands to seal bags |  | 1
Health and Safety | 13 | disposable gloves |  | 1
Health and Safety | 13 | hand sanitiser |  | 1
Indicators | 13 | soil nutrient test kit |  | 1
General lab apparatus | 13 | Marker pen |  | 1
Plasticware | 14 | 20 mL syringe |  | 1
Reagents | 14 | sugar solution 60 ml asuming 3 repeats of 20ml | 2% boiled & cooled to sterilise and remove O2 | 1
Glassware | 14 | boiling tube |  | 1
General lab apparatus | 14 | water baths set at 20, 30, 40, 50, 60 deg C (if thermostatically control water baths are not available, use a 150ml beaker topped up with hot water from a kettle and iced water to adjust the temperature manually) |  | 1 |  |  |  |  | You could have 2 or 3 pairs doing the same temp so that a mean can be taken and then you only need 5 water baths per class. Colllate the class results into a table and do data analysis and presentation using the whole class data.
Measuring devices | 14 | thermometer , 1 in each water bath to monitor temp. |  | 5
Measuring devices | 14 | Balance |  | 1
General lab apparatus | 14 | weighing boat |  | 1
Biological samples | 14 | Fast action dried baker's yeast 7 g sachet |  | 1 |  |  |  |  | If you have a pair doing 3 repeats at a specific temp, then each pair will need 1.5g
Glassware | 14 | glass rod |  | 1
Reagents | 14 | oil in a 10 ml beaker |  | 1
Glassware | 14 | 10ml beaker to put the oil |  | 1
Plasticware | 14 | disposable teat pipette to transfer the oil into the boiling tube |  | 1
General lab apparatus | 14 | bosses, clamps and stands |  | 1
General lab apparatus | 14 | bung and delivery tube |  | 1
Indicators | 14 | Diazine green aka Janus Green indicator in bottles with dropper | 0.03 % w/v | [5 empty] | Stock solution (~ 0.3 % w/v): Dissolve 0.3 g of the dye in 100 cm3 of distilled/deionised water. For use (0.03% w/v): Dilute the stock solution ‘ten-fold’ to make a 0.03% solution*. i.e.: Add 10 cm3 of stock solution to a measuring cylinder and add 90cm3 with distilled/deionised water.
Glassware | 14 | Test tubes |  | 1
Reagents | 14 | water -access to tap water or you could use lime water to confirm that the gas produced is CO2. 5ml |  | 3
Measuring devices | 14 | Timer |  | 1

## Chemistry
Type of Equipment | Lab Book Practical no. | Chemical/Sample/Apparatus Needed | Molarity/Concentration | Quantity needed for 1 pair | No of sets needed (You'll need to enter this yourself) | Total needed | Price per unit (you'll need to find this out for youself by asking local suppliers) | Total cost | Notes
Health and Safety | 1 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 1 | powdered solid e.g. about 100 g salt or sugar |  | 1 |  | 0 |  | 0
Plasticware | 1 | 150 ml beaker to hold the salt or sugar |  | 1 |  | 0 |  | 0
Reagents | 1 | distilled water-200ml |  | 1 |  | 0 |  | 0
Glassware | 1 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
Glassware | 1 | 250 cm3 beaker |  | 1 |  | 0 |  | 0 | To use as a water bath
General lab apparatus | 1 | bunsen burner |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | heat resistant mat |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | gauze and tripod |  | 1 |  | 0 |  | 0
Glassware | 1 | conical flask 250 ml |  | 1 |  | 0 |  | 0
Measuring devices | 1 | digital balance |  | 1 |  | 0 |  | 0 | 1 between 4 to 5 pairs is fine
Glassware | 1 | evaporating dish/basin |  | 1 |  | 0 |  | 0
Plasticware | 1 | filter funnel |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | filter paper |  | 1 |  | 0 |  | 0
Glassware | 1 | glass stirring rod |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | spatula |  | 1 |  | 0 |  | 0
Measuring devices | 1 | thermometer |  | 1 |  | 0 |  | 0
General lab apparatus | 1 | matches |  | 1 |  | 0 |  | 0 | 1 box between 2 or 3 pairs is fine.
Reagents | 2 | distilled water- in a 250 ml squeezy bottle |  | 1 |  | 0 |  | 0 | 1 between 2 pairs
Glassware | 2 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | chromatography paper or filter paper |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | pencil or glass rod or wooden split/ice-cream stick |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | pencil |  | 1 |  | 0 |  | 0
Measuring devices | 2 | ruler |  | 1 |  | 0 |  | 0
General lab apparatus | 2 | 2 different brand or coloured marker pens |  | 1 |  | 0 |  | 0
Health and Safety | 3.1 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 3.1 | Magnesium ribbon |  | 1 |  | 0 |  | 0 | A reel is usually 70ft so you can divide up say 5 cm strips per pair
General lab apparatus | 3.1 | bunsen burner |  | 1 |  | 0 |  | 0
Glassware | 3.1 | crucible with lid |  | 1 |  | 0 |  | 0
Measuring devices | 3.1 | digital balance |  | 1 |  | 0 |  | 0
General lab apparatus | 3.1 | emery paper |  | 1 |  | 0 |  | 0
Health and Safety | 3.1 | heat resistant mat |  | 1 |  | 0 |  | 0
General lab apparatus | 3.1 | pipe clay triangle |  | 1 |  | 0 |  | 0
General lab apparatus | 3.1 | tongs |  | 1 |  | 0 |  | 0
General lab apparatus | 3.1 | tripod |  | 1 |  | 0 |  | 0
General lab apparatus | 3.1 | matches |  | 1 |  | 0 |  | 0 | 1 box between 2 or 3 pairs is fine.
Health and Safety | 3.2 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 3.2 | Copper (II) Oxide powder- 3 g |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | Bung |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | rubber tubing to connect to gas supply |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | delivery tube |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | bunsen burner |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | clamp, stand and boss |  | 1 |  | 0 |  | 0
Measuring devices | 3.2 | digital balance |  | 1 |  | 0 |  | 0 | 1 between 4 to 5 pairs is fine
Health and Safety | 3.2 | heat resistant mat |  | 1 |  | 0 |  | 0
Glassware | 3.2 | reduction tube |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | wooden splint |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | tongs |  | 1 |  | 0 |  | 0
General lab apparatus | 3.2 | matches |  | 1 |  | 0 |  | 0 | 1 box between 2 or 3 pairs is fine.
Health and Safety | 4 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 4 | Copper (II) Sulphate solution -50cm3 | 0.1M | 1 |  | 0 |  | 0 | There is an error in the lab book method which says place 50cm3 of CuCl2 solution in step 1, it should say Cu2SO4 obviously.
Acids and Alkalis | 4 | Sulfuric acid- 50cm3 | 0.1M | 1 |  | 0 |  | 0
Reagents | 4 | Sodium chloride solution- 50cm3 | 0.1M | 1 |  | 0 |  | 0
Glassware | 4 | 50 cm3 beaker to hold the above solutions |  | 3 |  | 0 |  | 0
Glassware | 4 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
General lab apparatus | 4 | bunsen burner |  | 1 |  | 0 |  | 0
General lab apparatus | 4 | heat resistant mat |  | 1 |  | 0 |  | 0
General lab apparatus | 4 | connecting leads |  | 2 |  | 0 |  | 0
General lab apparatus | 4 | damp litmus paper |  | 1 |  | 0 |  | 0
General lab apparatus | 4 | electrode holder |  | 1 |  | 0 |  | 0 | Not needed if using the simple setup shown on pg 13 of the lab book
General lab apparatus | 4 | low voltage power supply up min 6 v needed |  | 1 |  | 0 |  | 0
General lab apparatus | 4 | sand paper |  | 1 |  | 0 |  | 0
General lab apparatus | 4 | S-shaped nichrome electrodes |  | 2 |  | 0 |  | 0
General lab apparatus | 4 | wooden splints |  | 2 |  | 0 |  | 0
Glassware | 4 | test tubes |  | 2 |  | 0 |  | 0 | Not needed if using the more complex setup shown on pg 14 of the lab book
Health and Safety | 4 | disposable gloves |  | 2 |  | 0 |  | 0 | Cu2SO4 and H2SO4 are irritants and it may be worthwhile for students to wear disposable gloves
Health and Safety | 5 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 5 | iron wool - ball that will stay stuck when pushed to the bottom of a test tube |  | 1 |  | 0 |  | 0
General lab apparatus | 5 | water from the tap |  | 1 |  | 0 |  | 0
Glassware | 5 | 250 cm3 beaker |  | 1 |  | 0 |  | 0
Glassware | 5 | glass stirring rod |  | 1 |  | 0 |  | 0
Measuring devices | 5 | ruler |  | 1 |  | 0 |  | 0
Glassware | 5 | test tube |  | 1 |  | 0 |  | 0
Health and Safety | 6 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 6 | Aluminium |  | 1 |  | 0 |  | 0 | small granules or foils roughly 5g
Reagents | 6 | Calcium |  | 2 |  | 0 |  | 0 | small granules or foils roughly 5g
Reagents | 6 | Copper |  | 1 |  | 0 |  | 0 | small granules or foils roughly 5g
Reagents | 6 | iron |  | 1 |  | 0 |  | 0 | small granules or foils roughly 5g
Reagents | 6 | Magnesium |  | 1 |  | 0 |  | 0 | small granules or foils roughly 5g
Reagents | 6 | Zinc |  | 1 |  | 0 |  | 0 | small granules or foils roughly 5g
Acids and Alkalis | 6 | Hydrochloric acid- 100ml | 0.4M | 1 |  | 0 |  | 0
Acids and Alkalis | 6 | Sulfuric acid - 100ml | 0.2M | 1 |  | 0 |  | 0
Glassware | 6 | 100 cm3 beaker (2 to hold the above and 2 for the reaction) |  | 4 |  | 0 |  | 0
General lab apparatus | 6 | bunsen burner |  | 1 |  | 0 |  | 0 | You could just use matches to light the splints
Health and Safety | 6 | heat resistant mat |  | 1 |  | 0 |  | 0
General lab apparatus | 6 | spatula or tweezers |  | 1 |  | 0 |  | 0
General lab apparatus | 6 | test tube rack |  | 1 |  | 0 |  | 0
Glassware | 6 | test tubes |  | 10 |  | 0 |  | 0
Health and Safety | 6 | disposable gloves |  | 2 |  | 0 |  | 0 | HCl and H2SO4 are irritants and it may be worth considering the use of gloves
General lab apparatus | 6 | wooden splints |  | 2 |  | 0 |  | 0
General lab apparatus | 6 | matches |  | 1 |  | 0 |  | 0 | 1 box between 2 or 3 pairs is fine.
Health and Safety | 7 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 7 | Copper (II) Oxide powder in excess about 20g in a plastic weighing boat |  | 1 |  | 0 |  | 0
Acids and Alkalis | 7 | Sulfuric acid in a bottle with dropper 25 cm3 | 1M | 1 |  | 0 |  | 0
Glassware | 7 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
Glassware | 7 | 100 cm3 conical flask |  | 1 |  | 0 |  | 0
Glassware | 7 | 100 cm3 measuring cylinder |  | 1 |  | 0 |  | 0 | A 50 cm3 or even a 10 cm3 would actually be better in terms of reducing uncertainty but the lab book has a 100 cm3 measuring cylinder listed
General lab apparatus | 7 | bunsen burner |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | clamp, stand and boss |  | 1 |  | 0 |  | 0
Glassware | 7 | evaporating dish/basin |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | filter funnel |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | filter paper |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | gauze |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | tripod |  | 1 |  | 0 |  | 0
Health and Safety | 7 | heat resistant mat |  | 1 |  | 0 |  | 0
Glassware | 7 | petri dish or watch glass |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | spatula |  | 1 |  | 0 |  | 0
Glassware | 7 | stirring rod |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | tongs |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | tweezers |  | 1 |  | 0 |  | 0
General lab apparatus | 7 | water bath at 50 degC i.e. Another 150 cm3 beaker |  | 1 |  | 0 |  | 0
Health and Safety | 7 | disposable gloves |  | 2 |  | 0 |  | 0 | Cu2SO4 and H2SO4 are irritants and it may be worth considering the use of gloves
Health and Safety | 8 | eye protection |  | 2 |  | 0 |  | 0 | silver nitrate and sodium chloride could be an alternative if lead salts are restricted in your location
Reagents | 8 | Lead II Nitrate- 30 cm3 | 0.1M | 1 |  | 0 |  | 0 | a little extra in case of spills
Reagents | 8 | Sodium Sulfate- 40 cm3 | 0.1M | 1 |  | 0 |  | 0 | a little extra in case of spills
Reagents | 8 | Distilled water- 250ml Squeezy bottle |  | 1 |  | 0 |  | 0
Plasticware | 8 | 25 cm3 measuring cylinder or 10 cm3 |  | 1 |  | 0 |  | 0
Plasticware | 8 | 50 cm3 measuring cylinder or 10 cm3 |  | 1 |  | 0 |  | 0
Glassware | 8 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
Glassware | 8 | conical flask |  | 1 |  | 0 |  | 0
Plasticware | 8 | filter funnel |  | 1 |  | 0 |  | 0
General lab apparatus | 8 | filter paper |  | 1 |  | 0 |  | 0
Glassware | 8 | stirring rod |  | 1 |  | 0 |  | 0
General lab apparatus | 8 | oven or dessicator |  | 1 |  | 0 |  | 0 | 1 for the whole class
Health and Safety | 9.1 | eye protection |  | 2 |  | 0 |  | 0
Acids and Alkalis | 9.1 | Hydrochloric acid- 40 cm3 | 1M | 1 |  | 0 |  | 0 | a little extra in case of spills
Acids and Alkalis | 9.1 | Sodium Hydroxide - 50 cm3 | 1M | 1 |  | 0 |  | 0 | a little extra in case of spills
Glassware | 9.1 | 250 cm3 beaker |  | 1 |  | 0 |  | 0
General lab apparatus | 9.1 | Lid for 1 cup with holes for stirring rod and thermometer |  | 1 |  | 0 |  | 0
Glassware | 9.1 | 50 ml measuring cyinder |  | 1 |  | 0 |  | 0
General lab apparatus | 9.1 | polystyrene cups |  | 2 |  | 0 |  | 0
Measuring devices | 9.1 | thermometer |  | 1 |  | 0 |  | 0
Glassware | 9.1 | stirring rod |  | 1 |  | 0 |  | 0
General lab apparatus | 9.1 | tripod |  | 1 |  | 0 |  | 0
Health and Safety | 9.2 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 9.2 | Ammonium chloride 20 g in a glass beaker |  | 1 |  | 0 |  | 0 | 2.67 g is needed per pair but put about 50g in a glass beaker and have 2 or 3 pairs share 1
Glassware | 9.2 | 50 ml glass beaker to hold the ammonium chloride |  | 1 |  | 0 |  | 0
Reagents | 9.2 | Distilled water- 1 250ml Squeezy bottle |  | 1 |  | 0 |  | 0 | 2 pairs could share 1
Glassware | 9.2 | 250 cm3 beaker |  | 1 |  | 0 |  | 0
Plasticware | 9.2 | Lid for 1 cup with holes for stirring rod and thermometer |  | 1 |  | 0 |  | 0
Glassware | 9.2 | 50 ml measuring cyinder |  | 1 |  | 0 |  | 0
General lab apparatus | 9.2 | polystyrene cup |  | 1 |  | 0 |  | 0
Measuring devices | 9.2 | thermometer |  | 1 |  | 0 |  | 0
Glassware | 9.2 | stirring rod |  | 1 |  | 0 |  | 0
General lab apparatus | 9.2 | tripod |  | 1 |  | 0 |  | 0
Measuring devices | 9.2 | digital balance |  | 1 |  | 0 |  | 0
Plasticware | 9.2 | weighing boat |  | 1 |  | 0 |  | 0
Health and Safety | 9.3 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 9.3 | Copper II Sulfate, 30 cm3 | 1M | 1 |  | 0 |  | 0 | 25 cm3 needed but a little extra provided
Reagents | 9.3 | Zinc powder, about 6 g |  | 1 |  | 0 |  | 0 | Have a bottle placed at each digital balance so 4 or 5 will do for the whole class
Glassware | 9.3 | 250 cm3 beaker |  | 1 |  | 0 |  | 0
Plasticware | 9.3 | Lid for 1 cup with holes for stirring rod and thermometer |  | 1 |  | 0 |  | 0
Glassware | 9.3 | 25 cm3 measuring cylinder |  | 1 |  | 0 |  | 0
Measuring devices | 9.3 | thermometer |  | 1 |  | 0 |  | 0
General lab apparatus | 9.3 | tripod |  | 1 |  | 0 |  | 0
| 9.3 | digital balance |  | 1 |  | 0 |  | 0 | 4 or 5 for a class of 25-30
Plasticware | 9.3 | weighing boat |  | 1 |  | 0 |  | 0
Glassware | 9.3 | stirring rod |  | 1 |  | 0 |  | 0
Plasticware | 9.3 | polystyrene cup |  | 1 |  | 0 |  | 0
Health and Safety | 9.4 | eye protection |  | 2 |  | 0 |  | 0
Glassware | 9.4 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
Glassware | 9.4 | 250 cm3 conical flask |  | 1 |  | 0 |  | 0
Health and Safety | 9.4 | heat resistant mat |  | 1 |  | 0 |  | 0
General lab apparatus | 9.4 | insulation/draught shield |  | 1 |  | 0 |  | 0
Glassware | 9.4 | spirit burner with caps |  | 1 |  | 0 |  | 0 | These usually have a 100 cm3 capacity
Organic compounds | 9.4 | ethanol -50 cm3 |  | 1 |  | 0 |  | 0 | If students did at least 2 that would be ok
Organic compounds | 9.4 | propanol- 50 cm3 |  | 1 |  | 0 |  | 0
Organic compounds | 9.4 | butanol- 50 cm3 |  | 1 |  | 0 |  | 0
Organic compounds | 9.4 | pentanol- 50 cm3 |  | 1 |  | 0 |  | 0
Glassware | 9.4 | 50 or 100 cm3 measuring cylinder |  | 1 |  | 0 |  | 0
General lab apparatus | 9.4 | water-access to tap |  | 1 |  | 0 |  | 0
Health and Safety | 10.1 | eye protection |  | 2 |  | 0 |  | 0
Acids and Alkalis | 10.1 | Hydrochloric acid- 50 cm3 | 1M | 1 |  | 0 |  | 0 | 40 cm3 needed but a little extra just in case
Reagents | 10.1 | marble chips-large, 5 g |  | 1 |  | 0 |  | 0
Reagents | 10.1 | marble chips- small, 5 g |  | 1 |  | 0 |  | 0
Plasticware | 10.1 | 100 cm3 measuring cylinder |  | 1 |  | 0 |  | 0
Glassware | 10.1 | conical flask 100 or 150 cm3 |  | 1 |  | 0 |  | 0
Glassware | 10.1 | delivery tube |  | 1 |  | 0 |  | 0
General lab apparatus | 10.1 | bung |  | 1 |  | 0 |  | 0
Measuring devices | 10.1 | timer |  | 1 |  | 0 |  | 0
Measuring devices | 10.1 | digital balance |  | 1 |  | 0 |  | 0 | 1 balance per 4 or 5 pairs so 4 or 5 balances per class of 25-30
Glassware | 10.1 | water trough or bee hive shelf |  | 1 |  | 0 |  | 0
General lab apparatus | 10.1 | clamp, stand and boss |  | 1 |  | 0 |  | 0
Health and Safety | 10.2 | eye protection |  | 2 |  | 0 |  | 0
Acids and Alkalis | 10.2 | Hydrochloric acid- 50 cm3 | 1M | 1 |  | 0 |  | 0 | 40cm3 needed but a little extra just in case
Acids and Alkalis | 10.2 | Hydrochloric acid- 50 cm3 | 0.8M | 1 |  | 0 |  | 0 | 40cm3 needed but a little extra just in case
Acids and Alkalis | 10.2 | Hydrochloric acid- 50 cm3 | 0.6M | 1 |  | 0 |  | 0 | 40cm3 needed but a little extra just in case
Acids and Alkalis | 10.2 | Hydrochloric acid- 50 cm3 | 0.4M | 1 |  | 0 |  | 0 | 40cm3 needed but a little extra just in case
Reagents | 10.2 | marble chips-small, 5 g | 0.2M | 4 |  | 0 |  | 0 | 40cm3 needed but a little extra just in case
Glassware | 10.2 | 100 cm3 measuring cylinder |  | 1 |  | 0 |  | 0
Glassware | 10.2 | conical flask 100 or 150 cm3 |  | 4 |  | 0 |  | 0 | Or use 1 and wash out in between but note any water remaining will dilute the acid and lead to inaccurate results but this could be a useful talking point
Glassware | 10.2 | delivery tube |  | 1 |  | 0 |  | 0
General lab apparatus | 10.2 | bung |  | 1 |  | 0 |  | 0
Measuring devices | 10.2 | timer |  | 1 |  | 0 |  | 0
Measuring devices | 10.2 | digital balance |  | 1 |  | 0 |  | 0
Glassware | 10.2 | water trough or bee hive shelf |  | 1 |  | 0 |  | 0
General lab apparatus | 10.2 | clamp, stand and boss |  | 1 |  | 0 |  | 0
Health and Safety | 11 | eye protection |  | 2 |  | 0 |  | 0
Reagents | 11 | Copper II Oxide, 1g |  | 1 |  | 0 |  | 0
Reagents | 11 | Copper turnings, 1g |  | 1 |  | 0 |  | 0
Reagents | 11 | Dilute Hydrogen Peroxide solution | 3% i.e. 10 vol. | 1 |  | 0 |  | 0 | 1 litre 10 vol. – add 100ml 100vol. hydrogen peroxide to 900ml water or add 500ml 20vol. hydrogen peroxide to 500ml water.
Reagents | 11 | Manganese IV Oxide, 1g |  | 1 |  | 0 |  | 0
Reagents | 11 | Potassium Iodide, 1g |  | 1 |  | 0 |  | 0
Reagents | 11 | Distilled water- 1 250ml Squeezy bottle |  | 1 |  | 0 |  | 0
Glassware | 11 | 10 cm3 measuring cylinder |  | 1 |  | 0 |  | 0
Glassware | 11 | boiling tubes |  | 4 |  | 0 |  | 0
General lab apparatus | 11 | boiling tube rack |  | 1 |  | 0 |  | 0
Glassware | 11 | conical flasks |  | 1 |  | 0 |  | 0
General lab apparatus | 11 | filter paper |  | 4 |  | 0 |  | 0
Plasticware | 11 | filter funnel |  | 1 |  | 0 |  | 0
Measuring devices | 11 | digital balance |  | 1 |  | 0 |  | 0 | 1 balance per 4 or 5 pairs so 4 or 5 balances per class of 25-30
Plasticware | 11 | weighing boat |  | 4 |  | 0 |  | 0
Health and Safety | 12 | eye protection |  | 2 |  | 0 |  | 0
Acids and Alkalis | 12 | Concentrated glacial Ethanoic acid-1 bottle with dropper |  |  |  | 0 |  | 0 | 1 for the whole class as the teacher will dispense it- use neat from supplier
Acids and Alkalis | 12 | Concentrated Sulfuric acid- 1 bottle with dropper |  |  |  | 0 |  | 0 | 1 for the whole class as the teacher will dispense it- use neat from supplier
Organic compounds | 12 | Ethanol in a dropper bottle or else a teat pippette will be needed (you could repeat with propan-1-ol, Butan-1-ol if desired) |  |  |  | 0 |  | 0 | 1 for the whole class as it will done by the fume cupboard
Reagents | 12 | Sodium Carbonate solution 25 cm3 | 0.1M | 1 |  | 0 |  | 0 | You could pre-measure this out an put it in a 25cm3 or 50cm3 beaker if preferred
Glassware | 12 | 25 cm3 measuring cylinder |  | 1 |  |  |  |  | Not needed if you will pre-measure it into a small beaker
Glassware | 12 | 100 cm3 beaker |  | 1 |  | 0 |  | 0
Glassware | 12 | 250 cm3 beaker |  | 1 |  | 0 |  | 0 | to be used as a water bath
General lab apparatus | 12 | cotton wool-ball |  | 1 |  | 0 |  | 0
General lab apparatus | 12 | kettle or water bath |  |  |  | 0 |  | 0 | 1 kettle per 5 pairs unless a thermostatically controlled water bath set at 80deg C is available. 2 per class would be good if you have them. Lab book says a thermometer is required but you don't need this except to check that the water bath is close to boiling point
Plasticware | 12 | pipettes |  |  |  | 0 |  | 0 | The teacher will need 3.
Health and Safety | 12 | disposable gloves |  | 2
Health and Safety | 12 | Fume cupboard | [6 empty] | You can demonstrate this experiment or show the video on the core practical playlist instead if the reagents are restricted or you do not have access to a fume cupboard.
Measuring devices | 12 | timer |  | 1

## Physics
Type of Equipment | Lab Book Practical no. | Chemical/Sample/Apparatus Needed | Molarity/Concentration | Quantity needed for 1 pair | No of sets needed (You'll need to enter this yourself) | Total needed | Price per unit (you'll need to find this out for youself by asking local suppliers) | Total cost | Notes
Mechanics | 1.1 | trolley car |  | 1 | 0 |  | 0
Mechanics | 1.1 | ramp |  | 1 | 0 |  | 0
Mechanics | 1.1 | blocks to prop up the ramp |  | 4 | 0 |  | 0 |  | You could use textbooks instead
Mechanics | 1.1 | card |  | 1 | 0 |  | 0
Mechanics | 1.1 | sticky putty e.g. blue or white tack |  | 1 | 0 |  | 0
Mechanics | 1.1 | light gates |  | 2 | 0 |  | 0 |  | If you do not have access to light gates you may wish to try this method instead https://physicsteacher.blog/2020/11/08/the-acceleration-required-practical-without-light-gates-part-deux/ Or use a mobile phone to record and use the time stamp to note when the card passes each point.
Mechanics | 1.1 | metre ruler |  | 1 | 0 |  | 0
Mechanics | 1.1 | data logger |  | 1 | 0 |  | 0
Mechanics | 1.1 | clamps, bosses and stands |  | 2 | 0 |  | 0 |  | The lab book states that a box of crumpled newspapers is required. This is an error.
Mechanics | 1.2 | metre ruler |  | 2 | 0 |  | 0
Mechanics | 1.2 | clamp,stands and boss |  | 2 | 0 |  | 0
Mechanics | 1.2 | tennis ball |  | 1 | 0 |  | 0
Mechanics | 1.2 | light gate |  | 1 | 0 |  | 0 |  | use a mobile phone to record and use the time stamp to note when hits the floor if you cannot get access to light gates and data loggers
Mechanics | 1.2 | data logger |  | 1 | 0 |  | 0
Materials | 2 | stand, 2 bosses and clamps |  | 1 | 0 |  | 0
Materials | 2 | spring less elastic |  | 1 | 0 |  | 0
Materials | 2 | spring more elastic |  | 1 | 0 |  | 0
Materials | 2 | metre ruler |  | 1 | 0 |  | 0
Materials | 2 | 100g masses |  | 10 | 0 |  | 0
Materials | 2 | mass holder |  | 1 | 0 |  | 0
Materials | 2 | eye protection |  | 2 | 0 |  | 0
Electricity | 3 | clamps, bosses and stands |  | 2 | 0 |  | 0
Electricity | 3 | metal pin or rod |  | 1 | 0 |  | 0 |  | something metallic will do to discharge student
Electricity | 3 | thin string or fishing line |  | 2 | 0 |  | 0
Electricity | 3 | perspex rods |  | 2 | 0 |  | 0
Electricity | 3 | polyethene rods |  | 2 | 0 |  | 0
Electricity | 3 | cloth or board duster |  | 1 | 0 |  | 0
Waves | 4 | ray box with single slit |  | 1 | 0 |  | 0 |  | If possible, do this individually
Waves | 4 | power supply |  | 1 | 0 |  | 0 |  | A laser pointer/key chain may be a cheaper alternative but beware of students misusing them
Waves | 4 | semi-circular glass block |  | 1 | 0 |  | 0
Waves | 4 | triangular glass prism |  | 1 | 0 |  | 0
Waves | 4 | pencil |  | 1 | 0 |  | 0
Waves | 4 | ruler |  | 1 | 0 |  | 0
Waves | 4 | protractor |  | 1 | 0 |  | 0
Waves | 4 | plain A4 or A3 Paper |  | 6 | 0 |  | 0
Waves | 5 | ray box with single slit |  | 1 | 0 |  | 0 |  | If possible, do this individually
Waves | 5 | power supply |  | 1 | 0 |  | 0 |  | A laser pointer/key chain may be a cheaper alternative but beware of students misusing them
Waves | 5 | rectangular glass block |  | 1 | 0 |  | 0
Waves | 5 | ruler |  | 1 | 0 |  | 0
Waves | 5 | protractor |  | 1 | 0 |  | 0
Waves | 5 | pencil |  | 1 | 0 |  | 0
Waves | 5 | plain A4 paper |  | 2 | 0 |  | 0
Waves | 6 | chalk |  | 1 | 0 |  | 0
Waves | 6 | very long measuring tape or trundle wheel |  | 1 | 0 |  | 0
Waves | 6 | wooden blocks |  | 2 | 0 |  | 0
Waves | 6 | reflective surface eg wall 50 m away |  | 1 | 0 |  | 0 |  | You could also have the 2nd student stood 100m away to start the timer when they see the wooden blocks clap and stop the timer when they hear the clap https://youtu.be/aHkH2oklY7Y?si=in20F2hN1eLi6o_Q or if you have a microtimer https://youtu.be/KlusU7K-AK0?si=2STL5UVpTunQ2hgL or if you do not have the space or a microtimer, show the video on the core practical playlist.
Waves | 6 | timer |  | 1 | 0 |  | 0
Waves | 7 | microphone |  | 1 | 0 |  | 0
Waves | 7 | oscilloscope |  | 1 | 0 |  | 0 |  | If you do not have access to an oscilloscope you may show the demonstration https://www.youtube.com/watch?v=VdXOEIlW_No
Waves | 7 | 3 different tuning forks or signal generator and loudspeaker |  | 1 | 0 |  | 0 |  | Or if you have access to laptops/computers- get your students to go on to https://oscilloscope-practice.oneapp.dev/
Thermal transfer | 8.1 | tripod |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | heat resistant mat |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | bunsen burner |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | aluminium rod |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | brass rod |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | copper rod |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | steel rod |  | 1 | 0 |  | 0
Thermal transfer | 8.1 | petroluem jelly (Vaseline) |  | 1 | 0 |  | 0 |  | 1 tub to share amongst 2- 4 pairs
Thermal transfer | 8.1 | drawing pins |  | 4 | 0 |  | 0
Thermal transfer | 8.1 | heat shields |  | 2 | 0 |  | 0 |  | optional but students should stand well back from the bunsen burner if not used
Thermal transfer | 8.2 | tripod |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | heat resistant mat |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | gauze |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | bunsen burner |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | water from the tap |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | beaker 150 ml |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | tweezers |  | 1 | 0 |  | 0
Thermal transfer | 8.2 | Potassium VII Manganate crystals |  | 1 | 0 |  | 0 |  | have a couple of crystals in weighing boat for each pair
Thermal transfer | 8.2 | eye protection |  | 2 | 0 |  | 0
Thermal transfer | 8.3 | boiling tubes |  | 4 | 0 |  | 0
Thermal transfer | 8.3 | black paper |  | 1 | 0 |  | 0
Thermal transfer | 8.3 | white paper |  | 1 | 0 |  | 0
Thermal transfer | 8.3 | silver paper or aluminium foil |  | 1 | 0 |  | 0
Thermal transfer | 8.3 | hot water from a kettle |  | 1 | 0 |  | 0 |  | 1 electric kettle for every 5 pairs would be ideal
Thermal transfer | 8.3 | 25 ml measuring cylinder |  | 1 | 0 |  | 0
Thermal transfer | 8.3 | thermometer |  | 4 | 0 |  | 0
Thermal transfer | 8.3 | timer |  | 1 | 0 |  | 0
Thermal transfer | 8.3 | boiling tube rack |  | 1 | 0 |  | 0
Thermal transfer | 8.3 | sticky tape |  | 1 | 0 |  | 0
Materials | 9 | digital balance |  | 1 | 0 |  | 0 |  | 1 between 4-5 pairs will suffice
Materials | 9 | ruler |  | 1 | 0 |  | 0
Materials | 9 | displacement can |  | 1 | 0 |  | 0
Materials | 9 | bowl |  | 1 | 0 |  | 0
Materials | 9 | water from the tap |  | 1 | 0 |  | 0
Materials | 9 | measuring cylinder 50 ml |  | 1 | 0 |  | 0
Materials | 9 | 150 cm3 beaker |  | 1 | 0 |  | 0
Materials | 9 | regular shaped objects |  | 2 | 0 |  | 0 |  | at least 2 different regular shaped objects would be ideal
Materials | 9 | irregular shaped objects |  | 2 | 0 |  | 0 |  | at least 2 different irregular shaped objects would be ideal
Materials | 9 | different liquids e.g. cooking oil, salt or sugar solution |  | 2 | 0 |  | 0 |  | at least 2 different liquids would be ideal
Thermal transfer | 10 | polystyrene cup |  | 1 | 0 |  | 0
Thermal transfer | 10 | polystyrene cup lid with holes for the immersion heater and thermometer |  | 1 | 0 |  | 0
Thermal transfer | 10 | glass beaker 500 ml |  | 1 | 0 |  | 0 |  | for further insulation but is optional
Thermal transfer | 10 | digital balance |  | 1 | 0 |  | 0
Thermal transfer | 10 | tripod |  | 1 | 0 |  | 0
Thermal transfer | 10 | thermometer |  | 1 | 0 |  | 0
Thermal transfer | 10 | 12v immersion heater |  | 1 | 0 |  | 0
Thermal transfer | 10 | power supply |  | 1 | 0 |  | 0
Thermal transfer | 10 | voltmeter |  | 1 | 0 |  | 0
Thermal transfer | 10 | ammeter |  | 1 | 0 |  | 0 |  | or joulemeter
Thermal transfer | 10 | timer |  | 1 | 0 |  | 0
Magnetism and Electromagnetism | 11 | permanent bar magnet |  | 2 | 0 |  | 0 |  | If possible do it individually
Magnetism and Electromagnetism | 11 | plain paper |  | 1 | 0 |  | 0
Magnetism and Electromagnetism | 11 | pencil |  | 1 | 0 |  | 0
Magnetism and Electromagnetism | 11 | plotting compass |  | 1 | 0 |  | 0
Radioactivity | 12 | a-particle source |  | 1 | 0 |  | 0 |  | DEMO only
Radioactivity | 12 | b-particle source |  | 1 | 0 |  | 0 |  | If sources are not available, show video demo here: https://youtu.be/EMIyeFAdnLg?si=IfT7JBeqPf0R9T0h
Radioactivity | 12 | g-particle source |  | 1 | 0 |  | 0 |  | Consider using everyday objects e.g. granite rocks for gamma source, smoke detectors for alpha source, Lo-Salt (i.e. salt with low soduim content as it has been exchanged with KCl containing K-40) which is a beta source. See here https://youtu.be/gdcyphtu26k?si=AfuK86ptxUvHfusE
Radioactivity | 12 | paper |  | 1 | 0 |  | 0
Radioactivity | 12 | aluminium sheet folded to 1-2mm thick |  | 1 | 0 |  | 0
Radioactivity | 12 | lead sheet |  | 1 | 0 |  | 0
Radioactivity | 12 | GM tube and counter |  | 1 | 0 |  | 0 |  | https://www.radiacode.com/100-series#choose-radiacode-device This is handheld and much cheaper than the standard lab GM tube and counter
Electricity | 13 | power supply |  | 1 | 0 |  | 0 |  | 2-6 V. You can use battery packs if a power pack if not accessible
Electricity | 13 | ammeter |  | 1 | 0 |  | 0
Electricity | 13 | voltmeter |  | 1 | 0 |  | 0
Electricity | 13 | resistor 100ohm |  | 1 | 0 |  | 0
Electricity | 13 | filament lamp |  | 1 | 0 |  | 0
Electricity | 13 | crocodile clips |  | 2 | 0 |  | 0
Thermal transfer | 14 | eye protection |  | 2 | 0 |  | 0
Thermal transfer | 14 | thermometer |  | 1 | 0 |  | 0
Thermal transfer | 14 | boiling tubes |  | 1 | 0 |  | 0
Thermal transfer | 14 | crushed ice |  | 1 | 0 |  | 0
Thermal transfer | 14 | beaker 150 ml |  | 1 | 0 |  | 0
Thermal transfer | 14 | tripod |  | 1 | 0 |  | 0
Thermal transfer | 14 | gauze |  | 1 | 0 |  | 0
Thermal transfer | 14 | heat resistant mat |  | 1 | 0 |  | 0
Thermal transfer | 14 | bunsen burner |  | 1 | 0 |  | 0
Thermal transfer | 14 | timer |  | 1 | 0 |  | 0
Thermal transfer | 14 | hot water from a kettle |  | 1 | 0 |  | 0 |  | 1 electric kettle for every 5 pairs would be ideal
Thermal transfer | 14 | stirring rod |  | 1 | 0 |  | 0

## Useful links
| The Online Science Prep Room ¦ Preproom.org | Online forum for technicians with lots of free stuff
| Homepage - SciChem | Lots of free chemical recipe sheets
| CLEAPPS | The main membership community for Lab Technicians
| Core Practical Playlist | Pearson Compilation of YouTube videos for all core practicals
| Physics Simulation Apps | Made for UK exam boards
| Phet- has lots of Physics simulations | US based but useful still
| Simon Poliakoff's You Tube channel | Lots of Physics video demos
| Low cost Physics teaching ideas | Lots of great demos that can be done cheaply from SimonPoliakoff
| Dr Daniel Jones You Tube Channel | Also lots of Physics videos
These are suggestions rather than Pearson endorsed resources (other than the Pearson Core Pratical Playlist)

## Do Not Alter
Types of Equipment |  | Lab Book Practical no.
For Biology and Chemistry | For Physics | 1
Reagents | Electricity | 2
Acids and Alkalis | Thermal transfer | 3
Indicators | Mechanics | 4
Organic compounds | Optics | 5
Glassware | Materials | 6
Plasticware | Waves | 7
Measuring devices | Magnetism and Electromagnetism | 8
Health and Safety | Radioactivity | 9
Dissection |  | 10
Biological samples |  | 11
Microscopy |  | 12
General lab apparatus |  | 13
Miscelaneous equipment |  | 14
15
4.1
4.2
4.3
4.4
4.5
5.1
5.2
5.3
5.4
9.1
9.2
9.2 (optional)
9.3
9.4
10.1
10.2
11.1
11.2
11.3
11.4
3.1
3.2
1.1
1.2
8.1
8.2
8.3
14